## Microscope 1
Microscope 1 parts |  |  | Total Cost so far = | 244707.61
PARTS SUMMARY
Lasers
Component | Supplier/Vendor | Price |  | Quotes | Detailed description |  | Date Requested | Date Recieved | Notes
Table | Newport | 10288.8 |  |  | Optics table and setup
Lasers | Coherent, MBP | 105142.9 |  |  | 1W+ lasers for STORM (488, 560, 647, 750) and 405 for activation
Camera | Hamamatsu | 20000 |  |  | CMOS camera and calibration
Microscope Body | Nikon | 29589.14 |  |  | Microscope body, Objectives
Microscope Stage | Ludl | 30862 |  |  | Microscope stage, XY and Piezo Z
Laser Optics | Thorlabs, Semrock, Chroma, Edmund | 15300.09 |  |  | Optics to combine beams
AOTF | Gooch and Housego | 5496.8 |  |  | AOTF to adjust laser power
Focus Lock | Thorlabs | 4465.16 |  |  | Focus lock to keep system in registration
Timing Control | National Instruments | 2991 |  |  | National Instruments card and components to synchronize AOTF, camera, and shutters
Computer | Dell | 6714.69 |  |  | Dell Precision Tower (5810), with SSD, RAM and CPU for high speed imaging
Misc Parts | Thorlabs, Amazon | 1372.12 |  |  | Other parts (power meters, tools, safety, cables, etc).
Fluidics System | Hamilton, Gilson, Bioptechs | 12484.91
ITEMIZED PARTS
Supplier/Vendor* | Catalog#/Supplier item* | Qty.* | Unit of Measure* | Unit Price* | Item Description* | Total Cost | Date Requested | Date Recieved | Notes / URL
Table | 10288.8
Newport | RS4000-48-12 | 1 | each | 6948 | RS4000 Series Optical Table, 4 ft x 8 ft x 12 in | 6948
Newport | S-2000A-423.5 | 1 | each | 3340.8 | Set of four S-2000 23.5 in tall standard isolators (legs) | 3340.8
Newport | Shipping | 1 | each | 418 | Shipping costs | 418
Microscope Stage | 30862 | - | - | (5% discount) | -
Ludl Elect. Prod. | 96A602 | 1 | each | 11519.5 | Ludl Piezo Z-axis insert, 350um for MAC6000 (use 96S107 Stage) | 11519.5
Ludl Elect. Prod. | 73006063 | 1 | each | 1347.1 | Ludl Piezo Z-axis driver, MAC6000 | 1347.1
Ludl Elect. Prod. | 96S107-N3-LE2 | 1 | each | 12903.85 | Stage, Flat Top pz Nikon Ti St Motors/Inverted/Lin-Enc 50n | 12903.85
Ludl Elect. Prod. | 996052 | 1 | each | 4351.5 | Controller, MAC6000 XY Stage Stepper, Includes Joystick | 4351.5
Ludl Elect. Prod. | 99A074 | 1 | each | 740.05 | Adjustable insert for slide/petri dish – inverted stage | 740.05 |  |  | http://ludl.com/stage-accessories/inventory/--13/
Lasers | 105142.9
Coherent | 1284370 | 1 | each | 5090 | OBIS 405nm LX 50mW LASER SYSTEM | 5090
Coherent | 1193289 | 1 | each | 395 | Obis Heat Sink Assy | 395
Coherent | 1178023 | 1 | each | 24727 | Genesis MX488-1000 STM OPSLaser-Diode System (Air Cooled) | 24727
Coherent | 1187296 | 1 | each | 2202 | Genesis CX Air-Cooled Riser Option | 2202
MPB | 2RU-VFL-P-2000-560-B1R | 1 | each | 24990 | 2000mW at 560nm Laser | 24990
MPB | 2RU-VFL-P-2000-647-B1R | 1 | each | 25950 | 2000mW at 647nm Laser | 25950
MPB | 2RU-VFL-P-500-750-B1R | 1 | each | 26500 | 500mW at 750 nm Laser | 26500
ProtoLabs | MPB_plate_v3 | 5 | each | 154.78 | Custom machined plate for MPB laser mount | 773.9
Camera | 20000
Hamamatsu | C11440-22CUPLUS-KIT | 1 | each | 18000 | ORCA-Flash4.0 V2+ CMOS Camera Kit | 18000
Hamamatsu | CAMRA-1001-000-KIT | 1 | each | 2000 | Camera Link Interface Kit for C11440-22CU | 2000
Laser Optics | 15300.09
Newport Optics | GBS-AR14 | 1 | each | 6210 | Refractive Beam Shaper, 430-700nm | 6210 |  |  | Not needed
Semrock | Di02-R442-25mm | 1 | each | 565 | 442 nm laser BrightLine® single-edge laser-flat dichroic beamsplitter, 25mm round, 3mm thick | 565 |  |  | https://www.semrock.com/FilterDetails.aspx?id=Di02-R442-25x36 | combine beams | Get 25mm round 3mm | Not needed
Semrock | Di02-R532-25mm | 1 | each | 565 | 532 nm laser BrightLine® single-edge laser-flat dichroic beamsplitter, 25mm round, 3mm thick | 565 |  |  | https://www.semrock.com/FilterDetails.aspx?id=Di02-R532-25x36 | combine beams | Get 25mm round 3mm
Semrock | Di02-R594-25mm | 1 | each | 565 | 594 nm laser BrightLine® single-edge laser-flat dichroic beamsplitter, 25mm round, 3mm thick | 565 |  |  | https://www.semrock.com/FilterDetails.aspx?id=Di02-R594-25x36 | combine beams | Get 25mm round 3mm
Semrock | FF705-Di01-25mm | 1 | each | 565 | 705 nm edge BrightLine® multiphoton single-edge dichroic beamsplitter, 25mm round, 3mm thick | 565 |  |  | https://www.semrock.com/FilterDetails.aspx?id=FF705-Di01-25x36 | combine beams | Get 25mm round 3mm | Not needed
Thorlabs | POLARIS-K1T1 | 4 | each | 205 | POLARIS-K1T1 - Polaris™ SM1-Threaded Ø1" Mirror Mount, 2 Adjusters, 2 Retaining Rings Included | 820 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=POLARIS-K1T1 | To mount dichroics
Thorlabs | LA1433-A-ML | 4 | each | 42.3 | Ø1" Mounted N-BK7 Plano-Convex Lenses (AR Coating: 350 - 700 nm) f=150mm | 169.2 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LA1433-A-ML | for laser zoom system to adjust beam size
Thorlabs | LA1509-A-ML | 4 | each | 43.6 | Ø1" Mounted N-BK7 Plano-Convex Lenses (AR Coating: 350 - 700 nm) f=100mm | 174.4 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LA1509-A-ML | for laser zoom system to adjust beam size
Thorlabs | LA1433-B-ML | 1 | each | 42.3 | Ø1" Mounted N-BK7 Plano-Convex Lenses (AR Coating: 650 - 1050 nm) f =150mm | 42.3 |  |  |  | for laser zoom system to adjust beam size
Thorlabs | LA1509-B-ML | 1 | each | 43.6 | Ø1" Mounted N-BK7 Plano-Convex Lenses (AR Coating: 650 - 1050 nm) f = 100mm | 43.6 |  |  |  | for laser zoom system to adjust beam size
Thorlabs | LD2297-A | 4 | each | 41.21 | N-SF11 Bi-Concave Lens, Ø25.4 mm, f = -25.0 mm, ARC: 350-700 nm | 164.84 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LD2297-A | for laser zoom system to adjust beam size
Thorlabs | LD2297-B | 1 | each | 41.21 | N-SF11 Bi-Concave Lens, Ø25.4 mm, f = -25.0 mm, ARC:650 - 1050 nm | 41.21 |  |  |  | for laser zoom system to adjust beam size
Thorlabs | WPH05M-488 | 1 | each | 418.2 | Ø1/2" Mounted Zero-Order Half-Wave Plate, Ø1" Mount, 488 nm | 418.2 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=WPH05M-488 | To adjust beam polarization |  | Not needed
Thorlabs | WPH05M-561 | 1 | each | 418.2 | Ø1/2" Mounted Zero-Order Half-Wave Plate, Ø1" Mount, 561 nm | 418.2 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=WPH05M-561 | To adjust beam polarization |  | Not needed
Thorlabs | WPH05M-633 | 1 | each | 418.2 | Ø1/2" Mounted Zero-Order Half-Wave Plate, Ø1" Mount, 633 nm | 418.2 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=WPH05M-633 | To adjust beam polarization |  | Not needed
Thorlabs | WPH05M-780 | 1 | each | 418.2 | Ø1/2" Mounted Zero-Order Half-Wave Plate, Ø1" Mount, 780 nm | 418.2 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=WPH05M-780 | To adjust beam polarization |  | Not needed
Thorlabs | CRM1 | 4 | each | 78.94 | Cage Rotation Mount for Ø1" Optics, SM1 Threaded, 8-32 Tap | 315.76 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CRM1 | for mounting half-wave plates |  | Not needed
Thorlabs | CP02 | 25 | each | 16 | CP02 - SM1-Threaded 30 mm Cage Plate, 0.35" Thick, 2 Retaining Rings, 8-32 Tap | 400 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP02 | to mount laser zoom
Thorlabs | ER10 | 20 | each | 16.44 | ER10 - Cage Assembly Rod, 10" (254.0 mm) Long, Ø6 mm | 328.8 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER10 | for laser zoom
Thorlabs | SM1D12 | 2 | each | 55.7 | SM1D12 - SM1 Lever-Actuated Iris Diaphragm (Ø0.8 - Ø12 mm) | 111.4 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1D12 | to align laser zoom
Thorlabs | IDA20-P5 | 1 | 5-pack | 208 | IDA20-P5 - Post-Mountable Standard Iris, 20.0 mm Max Aperture, 8-32 Threaded Stud, Pack of 5 | 208 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=IDA20-P5 | to align lasers
Thorlabs | RS2P | 45 | each | 26 | RS2P - Ø1" Pedestal Pillar Post, 1/4"-20 Taps, L = 2" | 1170 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=RS2P | for mounting laser plates and mirrors
Thorlabs | CF125-P5 | 11 | 5-pack | 41.5 | CF125-P5 - Short Clamping Fork, 1.24" Counterbored Slot, Universal, 5 Pack | 456.5 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CF125-P5 | for anchoring mounts
Thorlabs | KM100-E02 | 17 | each | 103.5 | KM100-E02 - Kinematic Mirror Mount for Ø1" Optics with Visible Laser Quality Mirror | 1759.5 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=KM100-E02 | mirrors
Thorlabs | KM200-E02 | 2 | each | 198 | KM200-E02 - Kinematic Mirror Mount for Ø2" Optics with Visible Laser Quality Mirror | 396 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=KM200-E02 | mirrors for expanded beam
Thorlabs | PH1.5E | 12 | each | 23 | PH1.5E - Ø1/2" Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=1.69" | 276 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PH1.5E | for mounting laser-zoom rail systems
Thorlabs | TR1.5-P5 | 3 | each | 22.37 | TR1.5-P5 - Ø1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 1.5", 5 Pack | 67.11 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR1.5-P5 | for mounting laser-zoom rail systems
Thorlabs | PH082E | 3 | each | 22.5 | PH082E - Ø1/2" Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=1.00" | 67.5 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PH082E | for mounting beam expander
Thorlabs | TR1 | 3 | each | 4.74 | TR1 - Ø1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 1" | 14.22 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR1 | for mounting beam expander
Edmund Optics | 49-395 | 1 | each | 145 | 50mm Dia. x 350mm FL, VIS-NIR, Achromatic Lens | 145 |  |  | http://www.edmundoptics.com/optics/optical-lenses/achromatic-lenses/vis-nir-coated-achromatic-lenses/49395/ | for beam expander
Edmund Optics | 49-352 | 2 | each | 94 | 25mm Dia. x 30mm FL, VIS-NIR Coated, Achromatic Lens | 188 |  |  | http://www.edmundoptics.com/optics/optical-lenses/achromatic-lenses/vis-nir-coated-achromatic-lenses/49352/ | for beam expander
Edmund Optics | 49-392 | 1 | each | 145 | 50mm Dia. x 200mm FL, VIS-NIR Coated, Achromatic Lens | 145 |  |  | http://www.edmundoptics.com/optics/optical-lenses/achromatic-lenses/vis-nir-coated-achromatic-lenses/49392/ | for beam expander
Thorlabs | SM1L05-P5 | 1 | 5-pk | 59.8 | SM1 Lens Tube, 0.50" Thread Depth, SM1RR Retaining Ring, 5 Pack | 59.8 |  |  |  | 2 for edmund 25mm achromatic
Thorlabs | SM2D25D | 2 | each | 80.9 | SM2D25D - Ring-Actuated SM2 Iris Diaphragm | 161.8 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM2D25D | to align beam expander
Thorlabs | ER12 | 8 | each | 16.44 | ER12 - Cage Assembly Rod, 12" (304.8 mm) Long, Ø6 mm | 131.52 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER12 | for beam expander
Thorlabs | LCP01 | 4 | each | 37.1 | 60 mm Cage Plate, SM2 Threaded, 0.5" Thick, 8-32 Tap (Two SM2RR Retaining Rings Included) | 148.4 |  |  |  | for beam expander
Thorlabs | CDA1 | 2 | each | 30 | CDA1 - Drop-In 30 mm to 60 mm Cage System Adapter, Qty. 1 | 60 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CDA1 | attach 1" optics in beam expander
Thorlabs | ER1-P4 | 2 | 4-pack | 18.77 | ER1-P4 - Cage Assembly Rod, 1" (25.4 mm) Long, Ø6 mm, 4 Pack | 37.54 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER1-P4 | attach 1" optics in beam expander
Thorlabs | CXY1 | 1 | each | 169.05 | CXY1 - 30 mm Cage XY Translator for Ø1" Optics with Quick-Release Mounting Carriage | 169.05 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CXY1 | attach 1" optics in beam expander
Thorlabs | XR25C | 1 | each | 395 | XR25C - 25 mm Travel Linear Translation Stage, Rear Micrometer, 1/4"-20 Taps | 395 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=XR25C | For TIRF
Thorlabs | PH4 | 1 | each | 9.17 | PH4 - Ø1/2" Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L = 4" | 9.17 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PH4 | For mounting TIRF
Thorlabs | TR8 | 1 | each | 8.12 | TR8 - Ø1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 8" | 18.75 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR8 | For mounting TIRF
Thorlabs | CXY2 | 2 | each | 185 | CXY2 - 60 mm Cage System Translating Lens Mount for Ø2" Optics | 370 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CXY2 | for beam expander and back lens
Thorlabs | SM2L05 | 2 | each | 24.75 | SM2L05 - SM2 Lens Tube, 0.5" Thread Depth, One Retaining Ring Included | 49.5 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM2L05 | for mounting 2" diameter lenses
Thorlabs | LCP01 | 4 | each | 37.1 | 60 mm Cage Plate, SM2 Threaded, 0.5" Thick, 8-32 Tap (Two SM2RR Retaining Rings Included) | 148.4 |  |  |  | for beam expansion cage and periscope
Thorlabs | KCB2E | 2 | each | 225 | KCB2E - Right-Angle Kinematic Elliptical Mirror Mount, 60 mm Cage System and SM2 Compatible, 8-32 and 1/4"-20 Mounting Holes | 450 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=KCB2E | for periscope
Thorlabs | LCPMA1 | 2 | each | 35 | LCPMA1 - Snap-On 60 mm Cage Mounting Bracket, #8 (M4) Slot | 70 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LCPMA1 | for mounting periscope
Thorlabs | ER2 | 4 | each | 5.94 | ER2 - Cage Assembly Rod, 2" (50.8 mm) Long, Ø6 mm | 23.76 |  |  |  | for periscope
Thorlabs | CV1530 | 1 | each | 179 | CV1530 - Vertical 30 mm Cage Clamp for Ø1.5" Posts | 179 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CV1530 | for holding periscope
Thorlabs | P8 | 1 | each | 54 | P8 - Ø1.5" Mounting Post, 1/4"-20 Taps, L = 8" | 54 |  |  |  | mount periscope
Thorlabs | PB4 | 2 | each | 12.4 | PB4 - Studded Pedestal Base Adapter, 1/4"-20 Thread | 24.8 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PB4 | mount periscope and AOTF
Thorlabs | PF175 | 2 | each | 17.47 | PF175 - Clamping Fork for Ø1.5" Pedestal Post or Post Pedestal Base Adapter, Universal | 34.94 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PF175 | mount periscope and AOTF
Thorlabs | KCB2E | 2 | each | 225 | KCB2E - Right-Angle Kinematic Elliptical Mirror Mount, 60 mm Cage System and SM2 Compatible, 8-32 and 1/4"-20 Mounting Holes | 450 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=KCB2E | for periscope
Thorlabs | BBE2-E02 | 2 | each | 185 | BBE2-E02 - 2" Broadband Dielectric Elliptical Mirror, 400 - 750 nm | 370 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=BBE2-E02 | for periscope
Thorlabs | ND20A | 4 | each | 68.34 | ND20A - Reflective Ø25 mm ND Filter, SM1-Threaded Mount, Optical Density: 2.0 | 205.02 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ND20A | reduce laser power for aligning beam
Thorlabs | LB1 | 5 | each | 48.5 | Beam Block, 400 - 700 nm, 10 W Max Avg. Power, CW Only, Includes TR3 Post | 242.5 |  |  |  | 1 for the AOTF dump, 4 to block lasers
AOTF | 5496.8 | Not needed
Gooch and Housego | 97-03309-01 | 1 | each | 2450 | AOTF, 488-800 nm | 2450
Gooch and Housego | 97-03926-12 | 1 | each | 2875 | DDS driver (8-chn) for AOTF | 2875
Gooch and Housego | 38-00028-01 | 1 | each | 35 | 24V Power Supply | 35
Gooch and Housego | Software CD | 1 | each | 0 | Software CD | 0
Gooch and Housego | 31-81822-02 | 1 | each | 95 | 40 pin MDR cable, 2 meter | 95
Thorlabs | T3283 | 1 | each | 6.8 | BNC Adapter - Straight Adapter (F-F) | 6.8
Thorlabs | CA2848 | 2 | each | 17.5 | CA2848 - SMA Coaxial Cable, SMA Male to BNC Male, 48" (1219 mm) | 35 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CA2848
Protolabs | AOTF_mount | 1 | each
Focus Lock | 4465.16
Thorlabs | SM1A30 | 1 | each | 60.8 | Nikon Eclipse Ti Microscope Epi-Fluorescence Port Adapter, Internal SM1 Threads, 30 and 60 mm Cage Compatibility | 60.8 |  |  |  | for attaching focus lock system to scope
Thorlabs | LDC210C | 1 | each | 1040 | Benchtop LD Current Controller, ±1 A HV | 1040 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LDC210C | power supply for IR laser
Thorlabs | LDM9LP | 1 | each | 617 | LD/TEC Mount for Thorlabs Fiber-Pigtailed Laser Diodes | 617 |  |  | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=4839&pn=LDM9LP | Mount and temp control for IR laser
Thorlabs | LP980-SF15 | 1 | each | 690 | 980 nm, 15 mW, E Pin Code, SM Fiber-Pigtailed Laser Diode, FC/PC | 690 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LP980-SF15 | IR laser fiber
Thorlabs | NENIR10A | 1 | each | 57 | Ø25 mm NIR Absorptive ND Filter, SM1-Threaded Mount, OD: 1.0 | 57 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=NENIR10A | modulate laser power
Thorlabs | NENIR20A | 1 | each | 57 | Ø25 mm NIR Absorptive ND Filter, SM1-Threaded Mount, OD: 2.0 | 57 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=NENIR20A | modulate laser power
Thorlabs | DCC1545M | 1 | each | 355 | High Resolution USB2.0 CMOS Camera, 1280 x 1024, Monochrome Sensor | 355 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=DCC1545M | IR camera
Thorlabs | PAFA-X-4-B | 1 | each | 515 | Achromatic FiberPort, FC/PC & FC/APC, f = 4.00 mm, 650 - 1050 nm, Ø0.87 mm Waist | 515 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PAFA-X-4-B | Fiber port
Thorlabs | CP08FP | 1 | each | 28 | FiberPort and LaserPort Adapter for 30 mm Cage System, Enhanced Clamping | 28 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP08FP | Mount for fiber port
Thorlabs | LA1608-B-ML | 1 | each | 43.6 | Ø1" N-BK7 Plano-Convex Lens, SM1-Threaded Mount, f = 75.0 mm, ARC: 650-1050 nm | 43.6 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LA1608-B-ML | Focus spots onto camera
Thorlabs | LA1172-B-ML | 1 | each | 41.9 | Ø1" N-BK7 Plano-Convex Lens, SM1-Threaded Mount, f = 400.0 mm, ARC: 650-1050 nm | 41.9 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LA1172-B-ML | Focus spots onto objective (might try different lenses)
Thorlabs | CXY1 | 1 | each | 169.05 | 30 mm Cage XY Translator for Ø1" Optics with Quick-Release Mounting Carriage | 169.05 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CXY1 | Mount and adjust lens to focus on objective
Thorlabs | CT1 | 1 | each | 418 | 1/2" Translation Stage for Cage System | 418 |  |  | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1895 | Offset control for final lens focusing onto camera
Thorlabs | CT101 | 1 | each | 43.1 | Optic Mount for use with CT1 in 30 mm Cage System | 43.1 |  |  | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1895 | Offset control for final lens focusing onto camera
Thorlabs | BB1-E03 | 2 | each | 75.1 | BB1-E03 - Ø1" Broadband Dielectric Mirror, 750-1100 nm | 150.2 |  |  | http://www.thorlabs.com/thorproduct.cfm?partnumber=BB1-E03 | IR mirrors
Thorlabs | KCB1C | 2 | each | 139.94 | Right-Angle Kinematic Mirror Mount with Tapped Cage Rod Holes, 30 mm Cage System and SM1 Compatible, 8-32 and 1/4"-20 Mounting Holes | 279.88 |  |  | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=6813&pn=KCB1C | Mirror mounts
Thorlabs | C6WA | 2 | each | 41.2 | C6W Platform Adapter Kit | 82.4 |  |  |  | for rotating beam splitter
Thorlabs | C6W | 2 | each | 61.2 | 30 mm Cage Cube, Ø6 mm Through Holes | 122.4 |  |  |  | for rotating beam splitter
Thorlabs | B4CRP | 2 | each | 283 | 30 mm Cage Cube Precision Kinematic Rotation Platform | 566 |  |  |  | for rotating beam splitter
Thorlabs | BS017 | 2 | each | 190 | 50:50 Non-Polarizing Beamsplitter Cube, 700-1100 nm, 20 mm | 380 |  |  |  | for rotating beam splitter
Thorlabs | PM3 | 2 | each | 18 | Small Adjustable Clamping Arm, 6-32 Threaded Post | 36 |  |  |  | for rotating beam splitter
Thorlabs | ER2-P4 | 6 | 4-pack | 22.57 | Cage Assembly Rod, 2" (50.8 mm) Long, Ø6 mm, 4 Pack | 135.42 |  |  | http://www.thorlabs.com/thorproduct.cfm?partnumber=ER2-P4 | cage system for IR optics
Thorlabs | ER6-P4 | 1 | 4-pack | 31.42 | ER6-P4 - Cage Assembly Rod, 6" (152.4 mm) Long, Ø6 mm, 4 Pack | 31.42 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER6-P4 | cage connector to camera
Thorlabs | ERSCA | 12 | each | 10.8 | ERSCA - Rod Adapter for Ø6 mm ER Rods | 129.6 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ERSCA
Thorlabs | CP02 | 2 | each | 16 | CP02 - SM1-Threaded 30 mm Cage Plate, 0.35" Thick, 2 Retaining Rings, 8-32 Tap | 32 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP02
Thorlabs | CM1-BP145B3 | 1 | each | 268 | 30 mm Cage Cube-Mounted Pellicle Beamsplitter, 45:55 (R:T), 1 - 2 µm | 268 |  |  | http://www.thorlabs.com/thorproduct.cfm?partnumber=CM1-BP145B3 | To send light to camera, pellicle to reduce back-scatter from final beam splitter
Thorlabs | NENIR60A | 1 | each | 57 | NENIR60A - Ø25 mm NIR Absorptive ND Filter, SM1-Threaded Mount, OD: 6.0 | 47.94 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=NENIR60A | to deflect back-scatter away from camera
Thorlabs | SM1L03T | 1 | each | 48 | SM1L03T - 10° Angled Optic Mount for 1" Optics with SM1 Threading | 48 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1L03T | to deflect back-scatter away from camera
Thorlabs | SM1CP2 | 1 | each | 17 | SM1CP2 - Externally SM1-Threaded End Cap | 17 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1CP2 | to deflect back-scatter away from camera
Thorlabs | SM1A9 | 1 | each | 18.75 | SM1A9 - Adapter with External C-Mount Threads and Internal SM1 Threads | 18.75 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1A9 | to mount IR camera
Thorlabs | PH4E | 3 | each | 24.5 | PH4E - Ø1/2" Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=4.19" | 18.75 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=PH4E
Thorlabs | TR8 | 3 | each | 8.12 | TR8 - Ø1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 8" | 18.75 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR8
Semrock | FF01-935/170-25 | 1 | each | 355 | 935/170 nm BrightLine® single-band bandpass filter | 355 |  |  | https://www.semrock.com/FilterDetails.aspx?id=FF01-935/170-25 | To prevent room light getting to IR camera
Other Parts | 1372.12
Thorlabs | S130C | 1 | each | 489 | Slim Photodiode Power Sensor, Si, 400 - 1100 nm, 500 mW | 489 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=S130C
Thorlabs | PM100D | 1 | each | 1030 | Digital power meter | 1030 |  |  | http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3341
Thorlabs | TC2 | 1 | 20 piece set | 88.3 | Hex driver set Imperial | 88.3 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=TC2
Thorlabs | TC3/M | 1 | 15 peice set | 84.1 | Hex driver set Metric | 84.1 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=TC3/M
Thorlabs | SPW602 | 1 | each | 26 | SPW602 - SM1 Spanner Wrench, Graduated, Length = 3.88" | 26 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SPW602
Thorlabs | SPW604 | 1 | each | 43.4 | SPW604 - SM2 Spanner Wrench, Length = 4.35" | 43.4 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SPW604
Thorlabs | CA3 | 1 | each | 12 | Duster w/ Integrated Nozzle | 12 |  |  | http://www.thorlabs.com/thorproduct.cfm?partnumber=CA3
Thorlabs | SPW909 | 1 | each | 28.4 | Spanner Wrench for SM1-Threaded Adapters, Length = 1" | 28.4 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SPW909
Amazon |  | 2 | each | 19.99 | Sabrent 13 Port High Speed USB 2.0 Hub with Power Adapter And 2 Control Switches (HB-U14P) | 39.98 |  |  | http://www.amazon.com/Sabrent-Adapter-Control-Switches-HB-U14P/dp/B00HL7Z46K/ref=sr_1_15?ie=UTF8&qid=1461345814&sr=8-15&keywords=USB+hub
Amazon |  | 2 | 2-pack | 9.97 | AmazonBasics 6-Outlet Surge Protector Power Strip 2-Pack, 200 Joule - Black | 19.94 |  |  | http://www.amazon.com/AmazonBasics-6-Outlet-Surge-Protector-2-Pack/dp/B014EKQ5AA/ref=sr_1_3?ie=UTF8&qid=1461346017&sr=8-3&keywords=power+strip
Timing Control | 2991 | Quote Requested
National Instruments | 781049-01 | 1 | each | 1553 | NI PCIe-6353 | 1553 | Not needed |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/207410
National Instruments | 192061-02 | 2 | each | 143 | NI Cables - Shielded, for PCIe-6353 | 286 | Not needed |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/207410
National Instruments | 777664-01 | 1 | each | 278 | CA-1000 Connector Accessory Enclosure | 278 | Not sure |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/1835
National Instruments | 184721-01 | 1 | each | 62 | Strain Relief Connector Panelette for CA-1000 Style Enclosure | 62 | Not sure |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/10713
National Instruments | 184737-01 | 4 | each | 48 | BNC Connector Panelette, CA-1000 Style Enclosure | 192 | Not sure |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/10713
National Instruments | 777145-02 | 2 | each | 117 | CB-68LPR I/O Connector Block | 234 | Not sure |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/1186
National Instruments | 184483-01 | 3 | each | 12 | Blank Connector Panelette for the CA-1000 Style Enclosure | 36 | Not sure |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/10688
National Instruments | USB-6002 - 782606-01 | 1 | each | 329 | Low-Cost Multifunction DAQ, 16-bit, 50 kS/s, 8 AI, 2 AO, 13 DIO | 329 |  |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/212384 | For focus drive
National Instruments | 782909-01 | 1 | each | 21 | High Speed USB Cable - Micro to STD Male (1m) | 21 |  |  | http://sine.ni.com/nips/cds/view/p/lang/en/nid/212384 | for focus drive
Microscope Body | 29589.14 | Quote Requested
Nikon | MEA53200 | 1 | each | 7038 | Inverted Microscope Eclipse Ti-U Main Body,with: left and rightside ports, intermediate magnification changer 1.5X, coaxial coarse/finefocus w/tension adjustment on coarse and focus stop on coarse, laser safety interlock signal output; Light-distribution: 100 Eyepiece, 100Left, 100 Right (*), and Auxiliary position (*) Note: (*) prism can beexchanged for optional prisms; Eye20/Left80, Eye20/Right80 | 7038
Nikon | MEV51005 | 2 | each | 750.55 | TI-FLC Epi-FL Filter Turret Six position turret, ergonomicallypositioned light shut-off shutter, "Noise Terminator" included for highsignal-to-noise fluorecence images | 1501.1
Nikon | MQD42070 | 1 | each | 532.1 | 0.7x C-Mount Relay Lens | 532.1 | Can get empty C-Mount
Nikon | MED53200 | 1 | each | 938.4 | Ti-BSUK70 70mm Stage Up Kit | 938.4
Nikon | MRD01605 | 1 | each | 5078.75 | CFI Plan Apo Lambda 60x oil | 5078.75
Nikon | MRH00101 | 1 | each | 800 | CFI60 Plan Fluor 10x Objective Lens, N.A. 0.3, W.D. 16mm, F.O.V. 25mm, DIC | 800
Nikon | MEP53315 | 1 | each | 1164.5 | Ti-ND6 Sextuple DIC Nosepiece | 1164.5
Nikon |  | 1 | each |  | Feet to attach to scope body to an imperial-scale table | 0
Nikon | MEB55800 | 1 | each | 290.7 | Ti-T-B Eyepiece Base Unit (to mount front of stage) | 290.7
Nikon |  | 1 | each | 159.8 | T-DH Dia-Illuminator Base Kit (replaces tower arm, to mount back of stage) | 159.8
Nikon |  | 1 | each | 6120 | Cylindrical lens for NSTORM system | 6120 | Not needed
Shapeways | none | 1 | each | 17.05 | Custom 3D printing of Nikon Filter Holder 1 | 17.05 | Can get from Nikon |  |  | to hold IR filter
Shapeways | none | 1 | each | 19.99 | Custom 3D printing of Thorlabs CFH2-F_rack | 19.99 | Can get from Nikon |  |  | to hold extra CFH2-F mounted filters
Chroma | zt405/488/561/647/752rpc | 1 | each | 1912.5 | Penta-band polychroic mirror, 26x38x3mm thick, to be mounted in 91032 Nikon laser/TIRF filtercube for Nikon Ti | 1912.5 |  |  |  | Multi-color imaging dichroic cube
Chroma | zet405/488/561/647-656/752m | 1 | each | 2125 | Penta-band emission/barrier/notch filter, 25mm diameter, to be mounted in 91032 Nikon laser/TIRF filtercube for Nikon Ti | 2125 |  |  |  | Multi-color imaging dichroic cube
Chroma | 91032 | 3 | each | 467.5 | Laser/TIRF filtercube for Nikon Ti | 1402.5 |  |  |  | TIRF dichroic cubes
Chroma | NC341845 | 1 | each | 488.75 | 900DCSP shortpass dichroic, 26x38x3mm thick, to be mounted in 91032 Nikon laser/TIRF filtercube for Nikon Ti | 488.75 |  |  |  | Reflects IR beam for focus lock
Chroma | ZT1064rdc-sp | 1 | each | 575 | IR dichroic, reflects 950-1150 nm laser. 3mm thick Ultra-flat, sized for Nikon Ti-U microscope | 575 |  |  | https://www.chroma.com/products/parts/zt1064rdc-sp | Reflects IR beam for focus lock
Semrock | FF01-950/SP-25 | 1 | each | 355 | 950 nm blocking edge BrightLine® short-pass filter | 355 |  |  | http://www.semrock.com/FilterDetails.aspx?id=FF01-950/SP-25 | to block backscatter IR from hcam
Edmund Optics | #64-334 | 1 | each | 205 | 850nm 25mm Diameter, OD 4 Shortpass Filter | 205 |  |  | http://www.edmundoptics.com/optics/optical-filters/shortpass-edge-filters/high-performance-od-4-shortpass-filters/64334/ | to block backscatter IR from hcam
Chroma |  |  |  |  | 647 + 405 dichroic, 26x38x3mm thick, to be mounted in 91032 Nikon laser/TIRF filtercube for Nikon Ti |  |  |  |  | 647-imaging dichroic / system alignment
Chroma |  |  |  |  | Cy5 emission filter, 26x38x3mm thick, to be mounted in 91032 Nikon laser/TIRF filtercube for Nikon Ti |  |  |  |  | 647-imaging emission filter
Fluidics System | 12484.91
Hamilton | 4833 -01 | 3 | each | 93 | Power Supply. UNIV24VDC.1/7A | 279 |  |  |  | Call or email Hamilton and order, didn't go through website
Hamilton | 7750 -11 | 5 | 6/pk | 45 | 20 gauge, Kel-F Hub NDL, custom length (5 in), point style 3, 6/PK | 225 |  |  | http://www.hamiltoncompany.com/products/20-gauge-KelF-Hub-NDL-custom-length-0375-to-12-in-point-style-2-3-or-4-6PK
Hamilton | 36766 | 3 | each | 172 | HVXM 8-5 VALVE | 516 |  |  | http://www.hamiltoncompany.com/products/HVXM-85-VALVE
Hamilton | 77902 | 3 | each | 43 | MVP Output to MVP Input Cable | 129 |  |  | http://www.hamiltoncompany.com/products/MVP-Output-to-MVP-Input-Cable
Hamilton | 36798 | 3 | each | 950 | MVP RS-232, PC1, w/o Valve | 2850 |  |  | http://www.hamiltoncompany.com/products/MVPRS232PC1WO-VALVE
Gilson | F155006 | 1 | each | 2438 | Peristaltic pump | 2438 |  |  |  | On Gilson quote
Gilson | 361832 | 1 | each | 436 | 361832 361832: 508 INTERFACE MODULE, 110-220 VOLT | 436 |  |  |  | On Gilson quote
Gilson | F117933 | 1 | pk-12 | 41 | PVC Manifold Tubing, 0.38 mm ID (0.015"), orange/green collars | 41 |  |  |  | On Gilson quote
Gilson | 21061820 | 1 | each | 0 | SFW,GILSON SERVER FOR XP AND 7 | 0 |  |  |  | On Gilson quote
Bioptechs | 03060319-2-NH | 1 | set | 2686.86 | FCS2 Chamber Flow Cell | 2686.86 |  |  | http://www.bioptechs.com/Products/Prices/prices.html | Not needed yet (for flow)
Bioptechs | 060319-2-2611 | 1 | each | 970.26 | Zeiss (K), Marzhauser, ASI, Ludl & Prior Adapter | 970.26 |  |  | http://www.bioptechs.com/Products/Prices/prices.html | Not needed yet (for flow)
Bioptechs | 1907 -250 | 1 | set-5 | 37.32 | Blank Gasket cut using die# 443792, 0.25mm Thick – 5/pack – 1907-250 | 37.32
Bioptechs | 1907 -750 | 1 | set-5 | 37.32 | Blank Gasket cut using die# 443792, 0.75mm Thick – 5/pack – 1907-250 | 37.32
Bioptechs | 1907 -750 | 1 | set-5 | 37.32 | Blank Gasket cut using die# 527762, 0.75mm Thick – 5/pack – 1907-250 | 37.32 |  |  | http://216.92.84.132/wordpress/product/chamber-accessories/ | Not needed yet (for flow)
Bioptechs | 1907 -750 | 1 | set-5 | 37.32 | Blank Gasket cut using die# 449379-D, 0.75mm Thick – 5/pack – 1907-250 | 37.32 |  |  | http://216.92.84.132/wordpress/product/chamber-accessories/ | Not needed yet (for flow)
Bioptechs | 0 -1313 -03192 | 1 | 500pk | 522 | 40mm Coverslips | 522 |  |  |  | Not needed yet (for flow)
Amazon | Pcard | 2 | each | 22.95 | Keyspan by Tripp Lite USA-19HS High-Speed USB Serial Adapter, PC, MAC, supports Cisco Break Sequence | 45.9 |  |  | http://www.amazon.com/Tripp-Lite-USA-19HS-High-Speed-supports/dp/B0000VYJRY/ref=sr_1_1?ie=UTF8&qid=1453835083&sr=8-1&keywords=tripp-lite+keyspan+usa-19hs
Amazon | Pcard | 2 | each | 16.99 | AmazonBasics 4 Port USB 3.0 Hub with 5V/2.5A power adapter | 33.98 |  |  | http://www.amazon.com/AmazonBasics-Port-2-5A-power-adapter/dp/B00DQFGH80
Amazon | Pcard | 1 | each | 2.24 | StarTech 6-Feet Straight Through Serial Cable - DB9 F/F (MXT100FF) | 2.24 |  |  | http://www.amazon.com/StarTech-6-Feet-Straight-Through-Serial/dp/B00066HP2E
Amazon | Pcard | 1 | each | 5.79 | AmazonBasics USB 3.0 Extension Cable - A-Male to A-Female - 3.3 Feet | 5.79 |  |  | http://www.amazon.com/AmazonBasics-USB-3-0-Extension-Cable/dp/B00NH134L6
Amazon | Pcard | 3 | each | 3.8 | SF Cable, 6ft 18 AWG Universal Power, USA NEMA 5-15P | 11.4 |  |  | http://www.amazon.com/SF-Cable-Universal-Power-IEC320/dp/B006W0IHPW?ie=UTF8&psc=1&redirect=true&ref_=ox_sc_act_title_1&smid=A33MASNQGU8ZOV
IDEX/Upchurch | P -675 | 80 | each | 9.23 | 1/4-28 Female to Male Luer Assy | 738.4 |  |  | https://www.idex-hs.com/checkout/cart/configure/id/46408/
IDEX | XP -202 | 80 | each | 2.41 | Flangeless Fitting Delrin®, Red 1/4-28 Flat-Bottom, for1/16" OD | 192.8 |  |  | https://www.idex-hs.com/flangeless-fitting-delrinr-red-1-4-24-flat-bottom-for1-16-od.html
McMaster | 5583k52 | 1 | each | 212 | Abrasion-Resistant White ETFE Tubing, .020" ID, 1/16" OD, 50ft | 212